## Slide 1
GIS-Enabled Asset Management
for Pennsylvania Water Authorities
Turning Infrastructure Challenges into Opportunities
SE Pennsylvania Section of the American Water Works Association
Presented by: Jim Frank
Geographic Information Systems Manager
j.frank@sdei.net

## Slide 2
SECTION 1
The Challenges Facing
Pennsylvania Water Systems

## Slide 3
Three Mounting Pressures on PA Water Systems
Challenges
GIS-Enabled Asset Management for PA Water Authorities
Aging Infrastructure
~260,000
water main breaks per year in the U.S.
Many PA systems rely on pipes installed pre-1950. Cast iron and bare steel corrode, fail unpredictably, and are costly to replace reactively.
Regulatory Pressure
LCRR + Act 12
compliance demands increasing
Lead & Copper Rule Revisions, service line inventories, and PA Act 12 all require detailed documentation — data that many utilities struggle to produce quickly.
Budget Constraints
$1 Trillion+
national water infrastructure gap
With flat or declining revenues, systems must do more with less — making data-driven prioritization not just helpful, but essential to justify every capital dollar spent.

## Slide 4
SECTION 2
Asset Management
Fundamentals

## Slide 5
What Is Asset Management? (Plain Language)
Asset Management Fundamentals
GIS-Enabled Asset Management for PA Water Authorities
The Simple Definition
Asset management means knowing what you own, understanding its condition, planning for its maintenance, and making smart decisions about when to repair versus replace — all in a systematic, documented way.
Why It Matters for Your Utility
Reduce reactive maintenance costs by catching problems early
Extend asset lifespan through planned, preventive care
Justify capital investments with data — not just gut feel
Regulatory Tip: Pennsylvania regulators and PENNVEST funders increasingly require evidence of asset management planning. Documented AM programs strengthen grant and loan applications.

## Slide 6
The Asset Management Lifecycle
Asset Management Fundamentals
GIS-Enabled Asset Management for PA Water Authorities
1
Inventory
Document every asset — pipes, valves, hydrants, pumps, meters. Know what you own.
2
Condition Assessment
Evaluate current state. What's healthy? What's deteriorating? What's near end-of-life?
3
Maintenance Planning
Schedule preventive maintenance. Reduce emergency responses. Extend asset life.
4
Capital Investment
Prioritize capital projects based on condition, risk, and community impact.
↺ This is a continuous cycle — not a one-time project

## Slide 7
SECTION 3
Enter GIS — Adding
the Spatial Dimension

## Slide 8
GIS: Your System on a Map — and So Much More
GIS Introduction
GIS-Enabled Asset Management for PA Water Authorities
What is GIS?
A Geographic Information System (GIS) is software that connects your data to a map. Instead of looking at a spreadsheet of pipe attributes, you see your entire network visually — color-coded by age, material, condition, or any other attribute you choose.
The Leap: Spreadsheet → Spatial Awareness
Patterns and risks that are invisible in a table become immediately obvious on a map.
Network Mapping
Visualize pipes, valves, hydrants, and service connections in one view
Risk Hotspot ID
Spatially identify clusters of old, failing, or high-break-frequency pipe
Work Order Mapping
Map maintenance history to reveal chronic problem areas over time
Layer Analysis
Overlay demographics, soil type, pressure zones, and regulatory boundaries

## Slide 9
LIVE DEMO #1
Viewing a Water Distribution Network in GIS
Pipes · Valves · Hydrants · Service Connections

## Slide 10
SECTION 4
GIS-Enabled KPIs
in Action

## Slide 11
Location-Based KPIs: From Data to Decisions
GIS-Enabled KPIs
GIS-Enabled Asset Management for PA Water Authorities
Traditional KPIs tell you WHAT is happening. Location-based KPIs tell you WHERE — and that changes everything about how you respond.
Asset Condition Score
by Location
Map condition ratings across your service area. See at a glance which zones have the highest concentration of poor-condition assets.
Break Frequency per
Mile of Pipe
Identify pipe segments and corridors with repeated failures — your highest-risk, highest-cost zones.
Maintenance Response
Time by Zone
Measure how quickly your crews can reach and resolve issues in different geographic zones. Identify service equity gaps.
Age & Material
Risk Mapping
Combine pipe age and material type spatially to generate a composite risk score — prioritize replacement where it matters most.

## Slide 12
LIVE DEMO #2
Dashboards and Real-time Inspections

## Slide 13
SECTION 5
Emergency Preparedness &
Resource Optimization

## Slide 14
Ready When It Matters Most: GIS for Emergency Response
Emergency Preparedness
GIS-Enabled Asset Management for PA Water Authorities
Isolation Valve Identification
Instantly identify the minimum valves to close to isolate a break — limiting service interruptions to the fewest customers.
Customer Notification Zones
Automatically generate lists of affected service addresses for immediate boil-water or outage notifications.
Critical Facility Mapping
Know immediately if a break or outage affects a hospital, school, fire station, or care facility — and prioritize accordingly.
Crew & Equipment Optimization
Route repair crews via GIS, identify the nearest equipment depot, and minimize travel time during emergencies.

## Slide 15
SECTION 6
Getting Started

## Slide 16
Getting Started: A Realistic Approach
Funding & Getting Started
GIS-Enabled Asset Management for PA Water Authorities
You don't need to do everything at once. Start where you are and use what you have.
Task 1
Begin Building the System
Build Your Inventory
Compile existing records (paper, CAD, spreadsheets, GPS files)
Enter data into a GIS Solution in the office or in the field with GPS
Task 2
Build and Maintain the System
Add Condition Data
Conduct condition assessments during regular maintenance
Score assets using a consistent rating scale
Document break and repair history spatially
Task 3
Start Using IT
Layer in GIS Visualization
Share data securely with partner agencies
Build location-based KPI dashboards
Integrate with monitoring, work order, and billing systems
💡 Low-Cost Options: Esri ArcGIS Enterprise and ArcGIS Online: on-premise and cloud-hosted platforms make GIS accessible to systems of all sizes and budgets.

## Slide 17
LIVE DEMO #3
Solutions to kickstart your system
Ease of mobile data collection

## Slide 18
Key Takeaways
Wrap-Up
GIS-Enabled Asset Management for PA Water Authorities
1
Asset management is a continuous process — not a one-time project — that builds the documentation foundation your utility needs for compliance, funding, and operational resilience.
2
GIS adds a powerful spatial dimension to asset management, transforming data into visual, location-based insights that make risks, priorities, and decisions immediately clear.
3
Location-based KPIs — break frequency per mile, condition scores by zone, response times — are the metrics that drive data-driven capital planning and justify every investment.
4
Funding is available. PENNVEST, DWSRF, LSA and DCED programs support PA water systems — and documented asset management strengthens every application.
5
Start where you are but build as you go — makes implementation achievable for any system size or budget.

## Slide 19
Questions & Discussion
"What's one asset you wish you knew more about today?"
Thank you for your time and your commitment to Pennsylvania's water future.
Resources & Next Steps
-- ESRI: esri.com
-- Jim Frank | GIS Manager | Systems Design Engineering
(610) 916-8500 | j.frank@sdei.net